## Slide 1: Designing an Arduino-based Non-Dispersive Infrared (NDIR) Gas – Sensor As A part of research internship at CSIR - Central Electronics Engineering Research Institute, Pilani
Submitted by:
Kotha Venkata Ramakrishna
M.Tech (Microelectronics & VLSI Design - NIT, Sikkim) Under the guidance of:
Rishav Pandey Dr. Vijay Chatterjee
B.Tech (Elect & Comm Engg - Jabalpur Engineering College) Scientist, CSIR-CEERI

## Slide 2: Noise Equivalent Power:
NEP is the minimum optical power required for an output signal-to-noise ratio (SNR) of 1.
Basically, this represents the threshold above which a signal can be detected.
Detectivity:
The detectivity (D) of a detector is just the inverse of its Noise Equivalent Power. The larger the detectivity of a detector, the more it is suitable for detecting weak signals which compete with detector’s noise. Its unit is Hz1/2/W
Specific Detectivity:
The specific detectivity (D*) is the detectivity normalized to a unit detector area (1 m2) and detection bandwidth (1 Hz); one can calculate it by multiplying the detectivity with the square root of the detector area (in square centimeters). Its unit is cm Hz1/2/W

## Slide 3: Calculation of NEP:

## Slide 4: Calculation of Pmin: